## Itemized Prop-Base
ITEMIZED PROPOSAL
Fort Wayne-Allen County Airport Authority
Fort Wayne International Airport
Fort Wayne, Indiana
FWA Construct Taxiway G Extension & Demolish Taxiway C2
Base Bid - Construct Taxiway G Extension
[5 empty] | Project Milestone: | Addendum No. 1
[5 empty] | Date: | 2024-06-14
ITEM NO. | PROJECT SPEC. REF. | DESCRIPTION | QUANTITY | UNIT | UNIT PRICE (WORDS) | UNIT PRICE | EXTENSION
Standard Pay Items
1 | C-100 | CONTRACTOR QUALITY CONTROL PROGRAM | 1 | LS
2 | C-102 | INSTALLATION AND REMOVAL OF SILT FENCE | 400 | LFT
3 | C-102 | INSTALLATION AND REMOVAL OF FABRIC DROP INLET PROTECTION | 5 | EACH
4 | C-105 | MOBILIZATION | 1 | LS
5 | C-105 | ENGINEER'S FIELD OFFICE | 5 | MO
6 | P-101 | PAVEMENT REMOVAL - FULL DEPTH HMA SHOULDER ( ±8" HMA ON VARIABLE DEPTH AGGREGATE BASE AND 9" SOIL-CEMENT BASE) | 1030 | SYD
7 | P-101 | PAVEMENT REMOVAL - PCCP (±15" PCCP WITH ±6" HMA BASE) | 1900 | SYD
8 | P-101 | REMOVE MITL ASSEMBLY, SALVAGE FIXTURE | 15 | EACH
9 | P-101 | REMOVE MITL FIXTURE, ISOLATION TRANSFORMER, AND COVER BASE CAN WITH SOLID LID | 25 | EACH
10 | P-101 | REMOVE L-850C HIRL FIXTURE AND ISOLATION TRANSFORMER, ABANDON FOUNDATION BASE CAN IN PLACE | 2 | EACH
11 | P-101 | REMOVE ELEVATED HIRL ASSEMBLY, SALVAGE FIXTURE | 2 | EACH
12 | P-101 | REMOVE ELEVATED RGL ASSEMBLY, SALVAGE FIXTURE | 1 | EACH
13 | P-101 | REMOVE ELEVATED RGL FIXTURE AND TRANSFORMER, CAP BASE CAN WITH L-867B STEEL LID | 2 | EACH
14 | P-101 | REMOVE AIRFIELD GUIDANCE SIGN AND TRANSFORMER, SALVAGE SIGN AND ABANDON FOUNDATION IN PLACE | 6 | EACH
15 | P-101 | REMOVE AIRFIELD GUIDANCE SIGN AND FOUNDATION, SALVAGE PANELS AND SIGN FRAMES | 5 | EACH
16 | P-101 | REMOVE CONDUIT AND CABLE | 1820 | LFT
17 | P-101 | REMOVE CABLE | 410 | LFT
18 | P-101 | REMOVE REINFORCED CONCRETE PIPE (UP TO 30-INCH DIAMETER) | 818 | LFT
19 | P-101 | REMOVE STORM STRUCTURE | 2 | EA
20 | P-101 | REMOVE UNDERDRAIN PIPE (4"-6" DIA.) | 1080 | LFT
21 | P-101 | REMOVE UNDERDRAIN CLEANOUT | 3 | EACH
22 | P-152 | UNCLASSIFIED EXCAVATION | 7964 | CYD
23 | P-154 | SUBBASE COURSE | 3170 | CYD
24 | P-307 | CEMENT-TREATED PERMEABLE BASE COURSE (6" DEPTH) | 15100 | SYD
25 | P-307 | GEOTEXTILE SOIL-SEPARATION LAYER | 5300 | SYD
26 | P-307 | BOND BREAKER | 10000 | SYD
27 | P-403 | HOT-MIX ASPHALT (HMA) PAVEMENT - 2" SURFACE COURSE (GRADATION 2) | 590 | TON
28 | P-403 | HOT-MIX ASPHALT PAVEMENT - 3" BINDER COURSE (GRADATION 1) | 885 | TON
29 | P-501 | CEMENT CONCRETE PAVEMENT (16" DEPTH) | 9280 | SYD
30 | P-501 | REINFORCEMENT FOR ODD SHAPED PANELS | 1750 | SYD
31 | P-603 | EMULSIFIED TACK COAT | 400 | GAL
32 | P-605 | JOINT SEALING FILLER | 10100 | LFT
33 | P-620 | REMOVAL OF EXISTING PAVEMENT MARKINGS | 7000 | SFT
34 | P-620 | SURFACE PREPARATION FOR APPLICATION OF NEW PAVEMENT MARKINGS | 18100 | SFT
35 | P-620 | RUNWAY AND TAXIWAY MARKING - YELLOW (FULL APPLICATION) | 5000 | SFT
36 | P-620 | RUNWAY AND TAXIWAY MARKING - BLACK (FULL APPLICATION) | 10300 | SFT
37 | P-620 | RUNWAY AND TAXIWAY MARKING - THERMOPLASTIC SURFACE PAINTED RUNWAY HOLD POSITION SIGN | 1300 | SFT
38 | P-620 | PAVEMENT MARKING - WHITE (FULL APPLICATION) | 1500 | SFT
39 | P-620 | REFLECTIVE MEDIA | 720 | LBS
40 | D-701 | REINFORCED CONCRETE PIPE - 45 INCH x 29 INCH, ELLIPTICAL, CLASS IV | 449 | LFT
41 | D-701 | REINFORCED CONCRETE PIPE - 53 INCH x 34 INCH, ELLIPTICAL, CLASS IV | 369 | LFT
42 | D-705 | PERFORATED UNDERDRAIN, 6- INCH PVC, COMPLETE | 2150 | LFT
43 | D-705 | UNDERDRAIN CLEANOUT, TYPE I | 4 | EACH
44 | D-705 | UNDERDRAIN CLEANOUT, TYPE II | 5 | EACH
45 | D-751 | INDOT TYPE D MANHOLE | 1 | EACH
46 | D-751 | INDOT TYPE M MANHOLE | 1 | EACH
47 | T-901 | HYDROMULCH SEEDING | 400 | KSFT
48 | L-108 | NO. 8 AWG, 5KV, L824, TYPE C CABLE, INSTALLED IN DUCT BANK OR CONDUIT | 6000 | LFT
49 | L-108 | NO. 6 AWG, SOLID, BARE COPPER COUNTERPOISE WIRE, INSTALLED IN TRENCH, ABOVE THE DUCT BANK OR CONDUIT, INCLUDING CONNECTIONS/TERMINATIONS | 3600 | LFT
50 | L-110 | NON-ENCASED, ELECTRICAL CONDUIT, 1-WAY, 2-INCH, IN TURF | 1100 | LFT
51 | L-110 | CONCRETE ENCASED, ELECTRICAL CONDUIT, 1-WAY, 2-INCH | 2200 | LFT
52 | L-110 | CONCRETE ENCASED, ELECTRICAL CONDUIT, 4-WAY, 2-INCH | 330 | LFT
53 | L-115 | L-867E BASE CAN HANDHOLE, ELECTRIC OR CONTROL | 2 | LFT
54 | L-125 | L-861T, INSTALL NEW ELEVATED LED TAXIWAY MITL FIXTURE ON NEW BASE, IN SHOULDER PAVEMENT | 39 | EACH
55 | L-125 | L-861T, INSTALL ELEVATED LED TAXIWAY MITL FIXTURE ON NEW BASE, IN TURF | 7 | EACH
56 | L-125 | INSTALL SALVAGED L-862 ELEVATED FIXTURE AND NEW L-830 ISOLATION TRANSFORMER WITH ADAPTER RING (L-868 TO L-867) ON EXISTING BASE CAN | 2 | EACH
57 | L-125 | INSTALL NEW L-850C INCANDESCENT HIRL FIXTURES ON NEW BASE CAN, IN TAXIWAY PAVEMENT | 2 | EACH
58 | L-125 | L-858, INSTALL NEW LED 1-MODULE SIZE 3 GUIDANCE SIGN ON NEW FOUNDATION | 3 | EACH
59 | L-125 | L-858, INSTALL NE W LED 2-MODULE SIZE 3 GUIDANCE SIGN ON NEW FOUNDATION | 2 | EACH
60 | L-125 | L-858, INSTALL NEW LED 3-MODULE SIZE 3 GUIDANCE SIGN ON NEW FOUNDATION | 4 | EACH
61 | L-125 | L-858, INSTALL NEW LED 3-MODULE SIZE 3 GUIDANCE SIGN ON EXISTING FOUNDATION | 1 | EACH
62 | L-125 | REPLACE PANELS ON EXISTING GUIDANCE SIGNS | 15 | EACH
63 | L-125 | L-804, INSTALL NEW ELEVATED LED RGL ASSEMBLY ON NEW BASE IN NEW TAXIWAY SHOULDER HMA PAVEMENT | 3 | EACH
64 | MST-02 | MAINTENANCE OF TRAFFIC | 1 | LS
65 | MST-03 | CONSTRUCTION ENGINEERING | 1 | LS
66 | MST-04 | PROJECT SECURITY | 1 | LS
Standard Pay Item Subtotal
Undistributed Pay Items
67 | MST-06 | HAUL ROUTE REPAIR (ALLOWANCE) | 1 | ALLOW | Forty-thousand dollars and zero cents | 40000 | 40000
68 | P-152 | UNDERCUT UNSUITABLE MATERIAL (UNDISTRIBUTED) | 800 | CYD
69 | P-152 | SPECIAL SUBGRADE TREATMENT (UNDISTRIBUTED) | 400 | CYD
70 | P-155 | LIME TREATED SUBGRADE (UNDISTRIBUTED) | 1 | SYD
71 | P-155 | LIME (UNDISTRIBUTED) | 1 | TON
Undistributed Pay Item Subtotal
Total Base Bid Amount

## Itemized Prop-Alt 1
ITEMIZED PROPOSAL
Fort Wayne-Allen County Airport Authority
Fort Wayne International Airport
Fort Wayne, Indiana
FWA Construct Taxiway G Extension & Demolish Taxiway C2
Additive Alternate No. 1 - Demolish Taxiway C2
[5 empty] | Project Milestone: | Addendum No. 1
[5 empty] | Date: | 2024-06-14
ITEM NO. | PROJECT SPEC. REF. | DESCRIPTION | QUANTITY | UNIT | UNIT PRICE (WORDS) | UNIT PRICE | EXTENSION
Standard Pay Items
72 | P-101 | PAVEMENT REMOVAL - PCCP (±15" PCCP WITH ±6" HMA BASE) | 6900 | SYD
73 | P-101 | PAVEMENT REMOVAL - FULL DEPTH HMA SHOULDER (±8" HMA ON VARIABLE DEPTH AGGREGATE BASE AND ±9" SOIL-CEMENT BASE) | 2150 | SYD
74 | P-101 | REMOVE IN-PAVEMENT HIRL BASE CAN ASSEMBLY | 2 | EACH
75 | P-101 | REMOVE MITL BASE CAN ASSEMBLY IN TURF | 13 | EACH
76 | P-101 | REMOVE MITL BASE CAN ASSEMBLY IN SHOULDER PAVEMENT | 12 | EACH
77 | P-101 | REMOVE CONDUIT AND CABLE | 2000 | LFT
78 | P-101 | REMOVE AIRFIELD GUIDANCE SIGN FOUNDATION ASSEMBLY | 6 | EACH
79 | P-101 | REMOVE 4"-4 WAY DUCT BANK | 170 | LF
80 | P-101 | REMOVE ELECTRICAL HANDHOLE | 2 | EA
81 | P-101 | REMOVE RGL BASE CAN ASSEMBLY | 2 | EACH
82 | P-152 | BORROW EXCAVATION | 6932 | CYD
83 | P-154 | SUBBASE COURSE | 600 | CYD
84 | P-403 | 2" BITUMINOUS ASPHALT MIXTURE SURFACE COURSE (GRADATION 2) | 140 | TON
85 | P-403 | 3" BITUMINOUS ASPHALT MIXTURE BINDER COURSE (GRADATION 1) | 210 | TON
86 | P-603 | EMULSIFIED TACK COAT | 100 | GAL
87 | P-605 | JOINT SEALING FILLER | 500 | LFT
88 | D-705 | PERFORATED UNDERDRAIN, 6- INCH PVC, COMPLETE | 400 | LFT
89 | D-705 | UNDERDRAIN CLEANOUT, TYPE I | 2 | LFT
90 | T-901 | HYDROMULCH SEEDING | 200 | KSFT
91 | MST-03 | ADDITIONAL CONSTRUCTION ENGINEERING | 1 | LS
92 | L-108 | NO. 8 AWG, 5KV, L824, TYPE C CABLE, INSTALLED IN DUCT BANK OR CONDUIT | 600 | LFT
93 | L-108 | NO. 6 AWG, SOLID, BARE COPPER COUNTERPOISE WIRE, INSTALLED IN TRENCH, ABOVE THE DUCT BANK OR CONDUIT, INCLUDING CONNECTIONS/TERMINATIONS | 600 | LFT
94 | L-110 | CONCRETE-ENCASED, ELECTRICAL CONDUIT, 1-WAY, 2-INCH | 400 | LFT
95 | L-125 | INSTALL SALVAGED L-862 ELEVATED FIXTURE AND NEW L-830 ISOLATION TRANSFORMER ON NEW BASE CAN | 2 | LFT
96 | L-125 | BASE BID CREDIT - EXISTING MITL SOLID LID INSTALLATION | -25 | EACH
97 | L-125 | BASE BID CREDIT - EXISTING GUIDANCE SIGN SOLID LID INSTALLATION | -6 | EACH
98 | L-125 | BASE BID CREDIT - RGL SOLID LID INSTALLATION | -2 | EACH
99 | L-125 | BASE BID CREDIT - INSTALL L-862 ELEVATED FIXTURE WITH ADAPTER RING ON EXISTING BASE CAN | -2 | EACH
Standard Pay Item Subtotal
Undistributed Pay Items
Undistributed Pay Item Subtotal
Total Additive Alternate No. 1 Amount

## Itemized Prop-Alt 2
ITEMIZED PROPOSAL
Fort Wayne-Allen County Airport Authority
Fort Wayne International Airport
Fort Wayne, Indiana
FWA Construct Taxiway G Extension & Demolish Taxiway C2
Additive Alternate No. 2 - Relocate Runway 5-23 Hold Position Locations
[5 empty] | Project Milestone: | Addendum No. 1
[5 empty] | Date: | 2024-06-14
ITEM NO. | PROJECT SPEC. REF. | DESCRIPTION | QUANTITY | UNIT | UNIT PRICE (WORDS) | UNIT PRICE | EXTENSION
Standard Pay Items
100 | P-101 | REMOVE ELEVATED RGL ASSEMBLY, SALVAGE FIXTURE | 16 | EACH
101 | P-101 | REMOVE AIRFIELD GUIDANCE SIGN AND FOUNDATION, SALVAGE PANELS AND SIGN FRAMES | 10 | EACH
102 | P-101 | REMOVE CONDUIT AND CABLE | 4800 | LFT
103 | P-620 | REMOVAL OF EXISTING PAVEMENT MARKINGS | 24000 | SFT
104 | P-620 | SURFACE PREPARATION FOR REMOVAL OF EXISTING PAVEMENT MARKINGS | 24000 | SFT
105 | P-620 | SURFACE PREPARATION FOR NEW MARKINGS | 22200 | SFT
106 | P-620 | RUNWAY AND TAXIWAY MARKING - YELLOW (FULL APPLICATION) | 7200 | SFT
107 | P-620 | RUNWAY AND TAXIWAY MARKING - BLACK (FULL APPLICATION) | 10900 | SFT
108 | P-620 | RUNWAY AND TAXIWAY MARKING - THERMOPLASTIC SURFACE PAINTED RUNWAY HOLD POSITION SIGN | 4100 | SFT
109 | P-620 | PAVEMENT MARKING - WHITE (FULL APPLICATION) | 2500 | SFT
110 | P-620 | REFLECTIVE MEDIA | 1100 | LBS
111 | L-108 | NO. 8 AWG, 5KV, L824, TYPE C CABLE, INSTALLED IN TRENCH, DUCT BANK, OR CONDUIT | 2500 | LFT
112 | L-108 | NO. 6 BDSC COUNTERPOISE, INSTALLED IN TRENCH | 1170 | LFT
113 | L-110 | CONCRETE ENCASED, ELECTRICAL CONDUIT, 1-WAY 2-INCH | 1170 | LFT
114 | L-115 | INSTALL NEW L-867B BASE CAN HANDHOLE, ELECTRIC OR CONTROL | 9 | EA
115 | L-125 | L-858, INSTALL NEW LED 2-MODULE SIZE 3 GUIDANCE SIGN ON NEW FOUNDATION | 2 | EACH
116 | L-125 | L-858, INSTALL NEW LED 3-MODULE SIZE 3 GUIDANCE SIGN ON NEW FOUNDATION | 6 | EACH
117 | L-125 | L-858, RELOCATE LED 3-MODULE SIZE 3 GUIDANCE SIGN ON NEW FOUNDATION | 1 | EACH
118 | L-125 | L-804, INSTALL NEW ELEVATED LED RGL ASSEMBLY ON NEW BASE IN NEW TAXIWAY SHOULDER HMA PAVEMENT | 4 | EACH
119 | L-125 | L-804, INSTALL NEW ELEVATED LED RGL ASSEMBLY ON NEW BASE IN TURF | 12 | EACH
120 | MST-02 | ADDITIONAL MAINTENANCE OF TRAFFIC | 1 | LS
121 | MST-03 | ADDITIONAL CONSTRUCTION ENGINEERING | 1 | LS
123 | L-125 | BASE BID CREDIT - REPLACE PANELS ON EXISTING GUIDANCE SIGNS | -20 | EACH
Standard Pay Item Subtotal
Undistributed Pay Items
Undistributed Pay Item Subtotal
Total Additive Alternate No. 2 Amount
SUBMITTED BY:
TITLE:
ADDRESS:
END OF ITEMIZED PROPOSAL